## Small Input
OMRON Date: 25-05-2021 Version: 1.1 Author: Eldad Ben Shalom OCR FAE EMEA
1. Insert below the correct start addresses from TIA and optionally the desired device prefix: |  | 2. Copy the desired Tags definitions below and paste into TIA Tags table: |  |  | Internal definitions below. DO NOT CHANGE!
|  | Tag Name | Data Type | Address | Module Name | Tag name | TIA Prefix | Offset [Bit/Byte]
Use with the following assembly pair: |  | V430_OutputLegacyCmds_Trigger | Bool | %Q6.0 | OutputLegacyCmds | Trigger | %Q | 0
Small Input Assembly |  | V430_OutputLegacyCmds_New Master | Bool | %Q6.1 | OutputLegacyCmds | New Master | %Q | 1
Output Legacy |  | V430_OutputLegacyCmds_Reserved | Bool | %Q6.2 | OutputLegacyCmds | Reserved | %Q | 2
|  | V430_OutputLegacyCmds_Disable Scanning | Bool | %Q7.0 | OutputLegacyCmds | Disable Scanning | %Q | 0
|  | V430_OutputLegacyCmds_ClearReportAndCounters | Bool | %Q8.0 | OutputLegacyCmds | ClearReportAndCounters | %Q | 0
|  | V430_OutputLegacyCmds_UnlatchOutputs | Bool | %Q8.1 | OutputLegacyCmds | UnlatchOutputs | %Q | 1
|  | V430_OutputLegacyExtOutputs_Out1 | Bool | %Q10.0 | OutputLegacyExtOutputs | Out1 | %Q | 0
|  | V430_OutputLegacyExtOutputs_Out2 | Bool | %Q10.1 | OutputLegacyExtOutputs | Out2 | %Q | 1
|  | V430_OutputLegacyExtOutputs_Out3 | Bool | %Q10.2 | OutputLegacyExtOutputs | Out3 | %Q | 2
|  | V430_CmdsEcho_Trigger | Bool | %I6.0 | CmdsEcho | Trigger | %I | 0
Device_Name | V430 | V430_CmdsEcho_New Master | Bool | %I6.1 | CmdsEcho | New Master | %I | 1
|  | V430_CmdsEcho_Reserved | Bool | %I6.2 | CmdsEcho | Reserved | %I | 2
Module Name | Start Address | V430_CmdsEcho_Disable Scanning | Bool | %I7.0 | CmdsEcho | Disable Scanning | %I | 0
UserDefinedEcho | 2 | V430_CmdsEcho_ClearReportAndCounters | Bool | %I8.0 | CmdsEcho | ClearReportAndCounters | %I | 0
CommandEcho | 6 | V430_CmdsEcho_UnlatchOutputs | Bool | %I8.1 | CmdsEcho | UnlatchOutputs | %I | 1
OutputControlStatus | 10 | V430_OutputCtrlStatus_Out1 | Bool | %I10.0 | OutputCtrlStatus | Out1 | %I | 0
ReadCycleSeqCounter | 68 | V430_OutputCtrlStatus_Out2 | Bool | %I10.1 | OutputCtrlStatus | Out2 | %I | 1
DecodeData | 72 | V430_OutputCtrlStatus_Out3 | Bool | %I10.2 | OutputCtrlStatus | Out3 | %I | 2
UserDefined (Q) | 2 | V430_ReadCycleSeqCounter_Val | DInt | %ID68 | ReadCycleSeqCounter | Val | %ID | 0
Commands (Q) | 6 | V430_DecodeData_Length | DInt | %ID72 | DecodeData | Length | %ID | 0
ExternalOutputs (Q) | 10 | V430_DecodeData_String[0] | Char | %IB76 | DecodeData | String[0] | %IB | 4
|  | V430_DecodeData_String[1] | Char | %IB77 | DecodeData | String[1] | %IB | 5
|  | V430_DecodeData_String[2] | Char | %IB78 | DecodeData | String[2] | %IB | 6
|  | V430_DecodeData_String[3] | Char | %IB79 | DecodeData | String[3] | %IB | 7
|  | V430_DecodeData_String[4] | Char | %IB80 | DecodeData | String[4] | %IB | 8
|  | V430_DecodeData_String[5] | Char | %IB81 | DecodeData | String[5] | %IB | 9
|  | V430_DecodeData_String[6] | Char | %IB82 | DecodeData | String[6] | %IB | 10
|  | V430_DecodeData_String[7] | Char | %IB83 | DecodeData | String[7] | %IB | 11
|  | V430_DecodeData_String[8] | Char | %IB84 | DecodeData | String[8] | %IB | 12
|  | V430_DecodeData_String[9] | Char | %IB85 | DecodeData | String[9] | %IB | 13
*Max 64 Chars

## Big Input
OMRON Date: 25-05-2021 Version: 1.1 Author: Eldad Ben Shalom OCR FAE EMEA
1. Insert below the correct start addresses from TIA and optionally the desired device prefix: |  | 2. Copy the desired Tags definitions below and paste into TIA Tags table: |  |  | Internal definitions below. DO NOT CHANGE!
|  | Tag Name | Data Type | Address | Module Name | Tag name | TIA Prefix | Offset [Bit/Byte]
Use with the following Assembly pair: |  | V430_OutputLegacyCmds_Trigger | Bool | %Q6.0 | OutputLegacyCmds | Trigger | %Q | 0
Big Input Assembly |  | V430_OutputLegacyCmds_New Master | Bool | %Q6.1 | OutputLegacyCmds | New Master | %Q | 1
Output Legacy |  | V430_OutputLegacyCmds_Reserved | Bool | %Q6.2 | OutputLegacyCmds | Reserved | %Q | 2
|  | V430_OutputLegacyCmds_Disable Scanning | Bool | %Q7.0 | OutputLegacyCmds | Disable Scanning | %Q | 0
|  | V430_OutputLegacyCmds_ClearReportAndCounters | Bool | %Q8.0 | OutputLegacyCmds | ClearReportAndCounters | %Q | 0
|  | V430_OutputLegacyCmds_UnlatchOutputs | Bool | %Q8.1 | OutputLegacyCmds | UnlatchOutputs | %Q | 1
|  | V430_OutputLegacyExtOutputs_Out1 | Bool | %Q10.0 | OutputLegacyExtOutputs | Out1 | %Q | 0
|  | V430_OutputLegacyExtOutputs_Out2 | Bool | %Q10.1 | OutputLegacyExtOutputs | Out2 | %Q | 1
|  | V430_OutputLegacyExtOutputs_Out3 | Bool | %Q10.2 | OutputLegacyExtOutputs | Out3 | %Q | 2
|  | V430_CmdsEcho_Trigger | Bool | %I6.0 | CmdsEcho | Trigger | %I | 0
Device_Name | V430 | V430_CmdsEcho_New Master | Bool | %I6.1 | CmdsEcho | New Master | %I | 1
|  | V430_CmdsEcho_Reserved | Bool | %I6.2 | CmdsEcho | Reserved | %I | 2
Module Name | Start Address | V430_CmdsEcho_Disable Scanning | Bool | %I7.0 | CmdsEcho | Disable Scanning | %I | 0
UserDefinedEcho | 2 | V430_CmdsEcho_ClearReportAndCounters | Bool | %I8.0 | CmdsEcho | ClearReportAndCounters | %I | 0
CommandEcho | 6 | V430_CmdsEcho_UnlatchOutputs | Bool | %I8.1 | CmdsEcho | UnlatchOutputs | %I | 1
OutputControlStatus | 10 | V430_OutputCtrlStatus_Out1 | Bool | %I10.0 | OutputCtrlStatus | Out1 | %I | 0
ExtInputStatus | 14 | V430_OutputCtrlStatus_Out2 | Bool | %I10.1 | OutputCtrlStatus | Out2 | %I | 1
ExtOutputStatus | 18 | V430_OutputCtrlStatus_Out3 | Bool | %I10.2 | OutputCtrlStatus | Out3 | %I | 2
DeviceStatus | 22 | V430_ExtInputStatus_Trigger | Bool | %I14.0 | ExtInputStatus | Trigger | %I | 0
ReadCycleSeqCounter | 68 | V430_ExtInputStatus_NewMaster | Bool | %I14.1 | ExtInputStatus | NewMaster | %I | 1
TriggerCounter | 72 | V430_ExtOutputStatus_Out1 | Bool | %I18.0 | ExtOutputStatus | Out1 | %I | 0
DecodeOrMatchCounter | 76 | V430_ExtOutputStatus_Out2 | Bool | %I18.1 | ExtOutputStatus | Out2 | %I | 1
MismatchCounter | 80 | V430_ExtOutputStatus_Out3 | Bool | %I18.2 | ExtOutputStatus | Out3 | %I | 2
NoreadCounter | 84 | V430_DeviceStatus_NewMasterReq | Bool | %I22.1 | DeviceStatus | NewMasterReq | %I | 1
DecodeData | 88 | V430_DeviceStatus_ScanningDisabled | Bool | %I23.0 | DeviceStatus | ScanningDisabled | %I | 0
UserDefined (Q) | 2 | V430_DeviceStatus_InReadCycle | Bool | %I24.0 | DeviceStatus | InReadCycle | %I | 0
Commands (Q) | 6 | V430_DeviceStatus_ActivelyScanning | Bool | %I24.1 | DeviceStatus | ActivelyScanning | %I | 1
ExternalOutputs (Q) | 10 | V430_ReadCycleSeq_Counter | DInt | %ID68 | ReadCycleSeq | Counter | %ID | 0
|  | V430_Trigger_Counter | DInt | %ID72 | Trigger | Counter | %ID | 0
|  | V430_DecodeOrMatch_Counter | DInt | %ID76 | DecodeOrMatch | Counter | %ID | 0
|  | V430_Mismatch_Counter | DInt | %ID80 | Mismatch | Counter | %ID | 0
|  | V430_Noread_Counter | DInt | %ID84 | Noread | Counter | %ID | 0
|  | V430_Decode_Length | DInt | %ID88 | Decode | Length | %ID | 0
|  | V430_DecodeData_String[0] | Char | %IB92 | DecodeData | String[0] | %IB | 4
|  | V430_DecodeData_String[1] | Char | %IB93 | DecodeData | String[1] | %IB | 5
|  | V430_DecodeData_String[2] | Char | %IB94 | DecodeData | String[2] | %IB | 6
|  | V430_DecodeData_String[3] | Char | %IB95 | DecodeData | String[3] | %IB | 7
|  | V430_DecodeData_String[4] | Char | %IB96 | DecodeData | String[4] | %IB | 8
|  | V430_DecodeData_String[5] | Char | %IB97 | DecodeData | String[5] | %IB | 9
|  | V430_DecodeData_String[6] | Char | %IB98 | DecodeData | String[6] | %IB | 10
|  | V430_DecodeData_String[7] | Char | %IB99 | DecodeData | String[7] | %IB | 11
|  | V430_DecodeData_String[8] | Char | %IB100 | DecodeData | String[8] | %IB | 12
|  | V430_DecodeData_String[9] | Char | %IB101 | DecodeData | String[9] | %IB | 13
*Max 128 Chars

## Input 1 Decode
OMRON Date: 25-05-2021 Version: 1.1 Author: Eldad Ben Shalom OCR FAE EMEA
1. Insert below the correct start addresses from TIA and optionally the desired device prefix. |  | 2. Copy the desired Tags definitions below and paste into TIA Tags table. |  |  | Internal definitions below. DO NOT CHANGE!
|  | Tag Name | Data Type | Address | Module Name | Tag name | TIA Prefix | Offset [Bit/Byte]
Use this page with the following assembly pair: |  | V430_OutputPremier_RunMode | Bool | %Q2.0 | OutputPremier | RunMode | %Q | 0
Input 1 Decode Assembly |  | V430_OutputPremier_Trigger | Bool | %Q2.1 | OutputPremier | Trigger | %Q | 1
Output Premier |  | V430_OutputPremier_EnableMatchCode | Bool | %Q2.2 | OutputPremier | EnableMatchCode | %Q | 2
|  | V430_OutputPremier_ResetGeneralFault | Bool | %Q2.3 | OutputPremier | ResetGeneralFault | %Q | 3
|  | V430_OutputPremier_ClearNoReadReadCycleCount | Bool | %Q2.4 | OutputPremier | ClearNoReadReadCycleCount | %Q | 4
|  | V430_OutputPremier_ClearMisMatchReadCycleCount | Bool | %Q2.5 | OutputPremier | ClearMisMatchReadCycleCount | %Q | 5
|  | V430_OutputPremier_ClearNoReadCount | Bool | %Q2.6 | OutputPremier | ClearNoReadCount | %Q | 6
|  | V430_OutputPremier_ClearTriggerCount | Bool | %Q2.7 | OutputPremier | ClearTriggerCount | %Q | 7
|  | V430_OutputPremier_ClearMatchcodeCount | Bool | %Q3.0 | OutputPremier | ClearMatchcodeCount | %Q | 0
|  | V430_OutputPremier_ClearMismatchCount | Bool | %Q3.1 | OutputPremier | ClearMismatchCount | %Q | 1
Device_Name | V430 | V430_OutputPremier_Output_1 | Bool | %Q3.2 | OutputPremier | Output_1 | %Q | 2
|  | V430_OutputPremier_Output_2 | Bool | %Q3.3 | OutputPremier | Output_2 | %Q | 3
Module Name | Start Address | V430_OutputPremier_Output_3 | Bool | %Q3.4 | OutputPremier | Output_3 | %Q | 4
ModuleHeader | 2 | V430_ModuleHeader_InfoBits | Byte | %IB2 | ModuleHeader | InfoBits | %IB | 0
DeviceStatus | 6 | V430_ModuleHeader_Reserved | Byte | %IB3 | ModuleHeader | Reserved | %IB | 1
FaultCode | 10 | V430_ModuleHeader_Reserved | Byte | %IB4 | ModuleHeader | Reserved | %IB | 2
Counters | 68 | V430_ModuleHeader_Reserved | Byte | %IB5 | ModuleHeader | Reserved | %IB | 3
ReadCycleReport | 92 | V430_DeviceStatus_Online | Bool | %I6.0 | DeviceStatus | Online | %I | 0
DecodeCycleReport | 100 | V430_DeviceStatus_TriggerAck | Bool | %I6.1 | DeviceStatus | TriggerAck | %I | 1
OutputPremier (Q) | 2 | V430_DeviceStatus_ExpDone | Bool | %I6.2 | DeviceStatus | ExpDone | %I | 2
|  | V430_DeviceStatus_Decoding | Bool | %I6.3 | DeviceStatus | Decoding | %I | 3
|  | V430_DeviceStatus_DataIsReady | Bool | %I6.4 | DeviceStatus | DataIsReady | %I | 4
|  | V430_DeviceStatus_ReadCyclePass | Bool | %I6.5 | DeviceStatus | ReadCyclePass | %I | 5
|  | V430_DeviceStatus_ReadCycleFail | Bool | %I6.6 | DeviceStatus | ReadCycleFail | %I | 6
|  | V430_DeviceStatus_GeneralFault | Bool | %I6.7 | DeviceStatus | GeneralFault | %I | 7
|  | V430_DeviceStatus_MatchCodeTrained | Bool | %I7.0 | DeviceStatus | MatchCodeTrained | %I | 0
|  | V430_DeviceStatus_MatchCodeEnabled | Bool | %I7.1 | DeviceStatus | MatchCodeEnabled | %I | 1
|  | V430_DeviceStatus_ImageSensorCal | Bool | %I7.2 | DeviceStatus | ImageSensorCal | %I | 2
|  | V430_DeviceStatus_ImageSensorCalComp | Bool | %I7.3 | DeviceStatus | ImageSensorCalComp | %I | 3
|  | V430_DeviceStatus_Training | Bool | %I7.4 | DeviceStatus | Training | %I | 4
|  | V430_DeviceStatus_TrainingComp | Bool | %I7.5 | DeviceStatus | TrainingComp | %I | 5
|  | V430_DeviceStatus_Optimizing | Bool | %I7.6 | DeviceStatus | Optimizing | %I | 6
|  | V430_DeviceStatus_OptimizingComp | Bool | %I7.7 | DeviceStatus | OptimizingComp | %I | 7
|  | V430_DeviceStatus_AutoImagePhotoEnabled | Bool | %I8.0 | DeviceStatus | AutoImagePhotoEnabled | %I | 0
|  | V430_DeviceStatus_AutoImagePhotoComp | Bool | %I8.1 | DeviceStatus | AutoImagePhotoComp | %I | 1
|  | V430_DeviceStatus_Output1Status | Bool | %I8.2 | DeviceStatus | Output1Status | %I | 2
|  | V430_DeviceStatus_Output2Status | Bool | %I8.3 | DeviceStatus | Output2Status | %I | 3
|  | V430_DeviceStatus_Output3Status | Bool | %I8.4 | DeviceStatus | Output3Status | %I | 4
|  | V430_DeviceStatus_BufferOverflow | Bool | %I8.5 | DeviceStatus | BufferOverflow | %I | 5
|  | V430_FaultCode_Val | Dint | %ID10 | FaultCode | Val | %ID | 0
|  | V430_Counters_NoreadReadCycleCounter | Dint | %ID68 | Counters | NoreadReadCycleCounter | %ID | 0
|  | V430_Counters_MismatchReadCycleCounter | Dint | %ID72 | Counters | MismatchReadCycleCounter | %ID | 4
|  | V430_Counters_NoreadCounter | Dint | %ID76 | Counters | NoreadCounter | %ID | 8
|  | V430_Counters_TriggerCounter | Dint | %ID80 | Counters | TriggerCounter | %ID | 12
|  | V430_Counters_MatchcodeCounter | Dint | %ID84 | Counters | MatchcodeCounter | %ID | 16
|  | V430_Counters_MismatchCounter | Dint | %ID88 | Counters | MismatchCounter | %ID | 20
|  | V430_ReadCycleReport_CaptureTime | Int | %IW92 | ReadCycleReport | CaptureTime | %IW | 0
|  | V430_ReadCycleReport_TotalDecodeTime | Int | %IW94 | ReadCycleReport | TotalDecodeTime | %IW | 2
|  | V430_ReadCycleReport_TotalReadCycleTime | Int | %IW96 | ReadCycleReport | TotalReadCycleTime | %IW | 4
|  | V430_DecodeCycleReport_SymbolTop | Int | %IW100 | DecodeCycleReport | SymbolTop | %IW | 0
|  | V430_DecodeCycleReport_SymbolLeft | Int | %IW102 | DecodeCycleReport | SymbolLeft | %IW | 2
|  | V430_DecodeCycleReport_SymbolHeight | Int | %IW104 | DecodeCycleReport | SymbolHeight | %IW | 4
|  | V430_DecodeCycleReport_SymbolWidth | Int | %IW106 | DecodeCycleReport | SymbolWidth | %IW | 6
|  | V430_DecodeCycleReport_CodeType | DInt | %ID108 | DecodeCycleReport | CodeType | %ID | 8
|  | V430_DecodeCycleReport_PixelsPerElement | Real | %ID112 | DecodeCycleReport | PixelsPerElement | %ID | 12
|  | V430_DecodeCycleReport_DecodeDataLength | DInt | %ID116 | DecodeCycleReport | DecodeDataLength | %ID | 16
|  | V430_DecodeCycleReport_DecodeString[0] | Char | %IB120 | DecodeCycleReport | DecodeString[0] | %IB | 20
|  | V430_DecodeCycleReport_DecodeString[1] | Char | %IB121 | DecodeCycleReport | DecodeString[1] | %IB | 21
|  | V430_DecodeCycleReport_DecodeString[2] | Char | %IB122 | DecodeCycleReport | DecodeString[2] | %IB | 22
|  | V430_DecodeCycleReport_DecodeString[3] | Char | %IB123 | DecodeCycleReport | DecodeString[3] | %IB | 23
|  | V430_DecodeCycleReport_DecodeString[4] | Char | %IB124 | DecodeCycleReport | DecodeString[4] | %IB | 24
|  | V430_DecodeCycleReport_DecodeString[5] | Char | %IB125 | DecodeCycleReport | DecodeString[5] | %IB | 25
|  | V430_DecodeCycleReport_DecodeString[6] | Char | %IB126 | DecodeCycleReport | DecodeString[6] | %IB | 26
|  | V430_DecodeCycleReport_DecodeString[7] | Char | %IB127 | DecodeCycleReport | DecodeString[7] | %IB | 27
|  | V430_DecodeCycleReport_DecodeString[8] | Char | %IB128 | DecodeCycleReport | DecodeString[8] | %IB | 28
|  | V430_DecodeCycleReport_DecodeString[9] | Char | %IB129 | DecodeCycleReport | DecodeString[9] | %IB | 29
*Max 436 Chars

## Input 4 Decode
OMRON Date: 25-05-2021 Version: 1.1 Author: Eldad Ben Shalom OCR FAE EMEA
1. Insert below the correct start addresses from TIA and optionally the desired device prefix. |  | 2. Copy the desired Tags definitions below and paste into TIA Tags table. |  |  |  | Internal definitions below. DO NOT CHANGE!
|  | Tag Name | Data Type | Address |  | Module Name | Tag name | TIA Prefix | Offset [Bit/Byte]
Use this page with the following assembly pair: |  | V430_OutputPremier_RunMode | Bool | %Q2.0 |  | OutputPremier | RunMode | %Q | 0
Input 4 Decode Assembly |  | V430_OutputPremier_Trigger | Bool | %Q2.1 |  | OutputPremier | Trigger | %Q | 1
Output Premier |  | V430_OutputPremier_EnableMatchCode | Bool | %Q2.2 |  | OutputPremier | EnableMatchCode | %Q | 2
|  | V430_OutputPremier_ResetGeneralFault | Bool | %Q2.3 |  | OutputPremier | ResetGeneralFault | %Q | 3
|  | V430_OutputPremier_ClearNoReadReadCycleCount | Bool | %Q2.4 |  | OutputPremier | ClearNoReadReadCycleCount | %Q | 4
|  | V430_OutputPremier_ClearMisMatchReadCycleCount | Bool | %Q2.5 |  | OutputPremier | ClearMisMatchReadCycleCount | %Q | 5
|  | V430_OutputPremier_ClearNoReadCount | Bool | %Q2.6 |  | OutputPremier | ClearNoReadCount | %Q | 6
|  | V430_OutputPremier_ClearTriggerCount | Bool | %Q2.7 |  | OutputPremier | ClearTriggerCount | %Q | 7
|  | V430_OutputPremier_ClearMatchcodeCount | Bool | %Q3.0 |  | OutputPremier | ClearMatchcodeCount | %Q | 0
|  | V430_OutputPremier_ClearMismatchCount | Bool | %Q3.1 |  | OutputPremier | ClearMismatchCount | %Q | 1
Device_Name | V430 | V430_OutputPremier_Output_1 | Bool | %Q3.2 |  | OutputPremier | Output_1 | %Q | 2
|  | V430_OutputPremier_Output_2 | Bool | %Q3.3 |  | OutputPremier | Output_2 | %Q | 3
Module Name | Start Address | V430_OutputPremier_Output_3 | Bool | %Q3.4 |  | OutputPremier | Output_3 | %Q | 4
ModuleHeader | 2 | V430_ModuleHeader_InfoBits | Byte | %IB2 |  | ModuleHeader | InfoBits | %IB | 0
DeviceStatus | 6 | V430_ModuleHeader_Reserved | Byte | %IB3 |  | ModuleHeader | Reserved | %IB | 1
FaultCode | 10 | V430_ModuleHeader_Reserved | Byte | %IB4 |  | ModuleHeader | Reserved | %IB | 2
Counters | 68 | V430_ModuleHeader_Reserved | Byte | %IB5 |  | ModuleHeader | Reserved | %IB | 3
ReadCycleReport | 92 | V430_DeviceStatus_Online | Bool | %I6.0 |  | DeviceStatus | Online | %I | 0
DecodeCycleReport1 | 100 | V430_DeviceStatus_TriggerAck | Bool | %I6.1 |  | DeviceStatus | TriggerAck | %I | 1
DecodeCycleReport2 | 280 | V430_DeviceStatus_ExpDone | Bool | %I6.2 |  | DeviceStatus | ExpDone | %I | 2
DecodeCycleReport3 | 372 | V430_DeviceStatus_Decoding | Bool | %I6.3 |  | DeviceStatus | Decoding | %I | 3
DecodeCycleReport4 | 464 | V430_DeviceStatus_DataIsReady | Bool | %I6.4 |  | DeviceStatus | DataIsReady | %I | 4
OutputPremier (Q) | 2 | V430_DeviceStatus_ReadCyclePass | Bool | %I6.5 |  | DeviceStatus | ReadCyclePass | %I | 5
|  | V430_DeviceStatus_ReadCycleFail | Bool | %I6.6 |  | DeviceStatus | ReadCycleFail | %I | 6
|  | V430_DeviceStatus_GeneralFault | Bool | %I6.7 |  | DeviceStatus | GeneralFault | %I | 7
|  | V430_DeviceStatus_MatchCodeTrained | Bool | %I7.0 |  | DeviceStatus | MatchCodeTrained | %I | 0
|  | V430_DeviceStatus_MatchCodeEnabled | Bool | %I7.1 |  | DeviceStatus | MatchCodeEnabled | %I | 1
|  | V430_DeviceStatus_ImageSensorCal | Bool | %I7.2 |  | DeviceStatus | ImageSensorCal | %I | 2
|  | V430_DeviceStatus_ImageSensorCalComp | Bool | %I7.3 |  | DeviceStatus | ImageSensorCalComp | %I | 3
|  | V430_DeviceStatus_Training | Bool | %I7.4 |  | DeviceStatus | Training | %I | 4
|  | V430_DeviceStatus_TrainingComp | Bool | %I7.5 |  | DeviceStatus | TrainingComp | %I | 5
|  | V430_DeviceStatus_Optimizing | Bool | %I7.6 |  | DeviceStatus | Optimizing | %I | 6
|  | V430_DeviceStatus_OptimizingComp | Bool | %I7.7 |  | DeviceStatus | OptimizingComp | %I | 7
|  | V430_DeviceStatus_AutoImagePhotoEnabled | Bool | %I8.0 |  | DeviceStatus | AutoImagePhotoEnabled | %I | 0
|  | V430_DeviceStatus_AutoImagePhotoComp | Bool | %I8.1 |  | DeviceStatus | AutoImagePhotoComp | %I | 1
|  | V430_DeviceStatus_Output1Status | Bool | %I8.2 |  | DeviceStatus | Output1Status | %I | 2
|  | V430_DeviceStatus_Output2Status | Bool | %I8.3 |  | DeviceStatus | Output2Status | %I | 3
|  | V430_DeviceStatus_Output3Status | Bool | %I8.4 |  | DeviceStatus | Output3Status | %I | 4
|  | V430_DeviceStatus_BufferOverflow | Bool | %I8.5 |  | DeviceStatus | BufferOverflow | %I | 5
|  | V430_FaultCode_Val | Dint | %ID10 |  | FaultCode | Val | %ID | 0
|  | V430_Counters_NoreadReadCycleCounter | Dint | %ID68 |  | Counters | NoreadReadCycleCounter | %ID | 0
|  | V430_Counters_MismatchReadCycleCounter | Dint | %ID72 |  | Counters | MismatchReadCycleCounter | %ID | 4
|  | V430_Counters_NoreadCounter | Dint | %ID76 |  | Counters | NoreadCounter | %ID | 8
|  | V430_Counters_TriggerCounter | Dint | %ID80 |  | Counters | TriggerCounter | %ID | 12
|  | V430_Counters_MatchcodeCounter | Dint | %ID84 |  | Counters | MatchcodeCounter | %ID | 16
|  | V430_Counters_MismatchCounter | Dint | %ID88 |  | Counters | MismatchCounter | %ID | 20
|  | V430_ReadCycleReport_CaptureTime | Int | %IW92 |  | ReadCycleReport | CaptureTime | %IW | 0
|  | V430_ReadCycleReport_TotalDecodeTime | Int | %IW94 |  | ReadCycleReport | TotalDecodeTime | %IW | 2
|  | V430_ReadCycleReport_TotalReadCycleTime | Int | %IW96 |  | ReadCycleReport | TotalReadCycleTime | %IW | 4
|  | V430_DecodeCycleReport1_SymbolTop | Int | %IW100 |  | DecodeCycleReport1 | SymbolTop | %IW | 0
|  | V430_DecodeCycleReport1_SymbolLeft | Int | %IW102 |  | DecodeCycleReport1 | SymbolLeft | %IW | 2
|  | V430_DecodeCycleReport1_SymbolHeight | Int | %IW104 |  | DecodeCycleReport1 | SymbolHeight | %IW | 4
|  | V430_DecodeCycleReport1_SymbolWidth | Int | %IW106 |  | DecodeCycleReport1 | SymbolWidth | %IW | 6
|  | V430_DecodeCycleReport1_CodeType | DInt | %ID108 |  | DecodeCycleReport1 | CodeType | %ID | 8
|  | V430_DecodeCycleReport1_PixelsPerElement | Real | %ID112 |  | DecodeCycleReport1 | PixelsPerElement | %ID | 12
|  | V430_DecodeCycleReport1_DecodeDataLength | DInt | %ID116 |  | DecodeCycleReport1 | DecodeDataLength | %ID | 16
|  | V430_DecodeCycleReport1_DecodeString[0] | Char | %IB120 |  | DecodeCycleReport1 | DecodeString[0] | %IB | 20
|  | V430_DecodeCycleReport1_DecodeString[1] | Char | %IB121 |  | DecodeCycleReport1 | DecodeString[1] | %IB | 21
|  | V430_DecodeCycleReport1_DecodeString[2] | Char | %IB122 |  | DecodeCycleReport1 | DecodeString[2] | %IB | 22
|  | V430_DecodeCycleReport1_DecodeString[3] | Char | %IB123 |  | DecodeCycleReport1 | DecodeString[3] | %IB | 23
|  | V430_DecodeCycleReport1_DecodeString[4] | Char | %IB124 |  | DecodeCycleReport1 | DecodeString[4] | %IB | 24
|  | V430_DecodeCycleReport1_DecodeString[5] | Char | %IB125 |  | DecodeCycleReport1 | DecodeString[5] | %IB | 25
|  | V430_DecodeCycleReport1_DecodeString[6] | Char | %IB126 |  | DecodeCycleReport1 | DecodeString[6] | %IB | 26
|  | V430_DecodeCycleReport1_DecodeString[7] | Char | %IB127 |  | DecodeCycleReport1 | DecodeString[7] | %IB | 27
|  | V430_DecodeCycleReport1_DecodeString[8] | Char | %IB128 |  | DecodeCycleReport1 | DecodeString[8] | %IB | 28
|  | V430_DecodeCycleReport1_DecodeString[9] | Char | %IB129 | *Max 160 Chars | DecodeCycleReport1 | DecodeString[9] | %IB | 29
|  | V430_DecodeCycleReport2_SymbolTop | Int | %IW280 |  | DecodeCycleReport2 | SymbolTop | %IW | 0
|  | V430_DecodeCycleReport2_SymbolLeft | Int | %IW282 |  | DecodeCycleReport2 | SymbolLeft | %IW | 2
|  | V430_DecodeCycleReport2_SymbolHeight | Int | %IW284 |  | DecodeCycleReport2 | SymbolHeight | %IW | 4
|  | V430_DecodeCycleReport2_SymbolWidth | Int | %IW286 |  | DecodeCycleReport2 | SymbolWidth | %IW | 6
|  | V430_DecodeCycleReport2_CodeType | DInt | %ID288 |  | DecodeCycleReport2 | CodeType | %ID | 8
|  | V430_DecodeCycleReport2_PixelsPerElement | Real | %ID292 |  | DecodeCycleReport2 | PixelsPerElement | %ID | 12
|  | V430_DecodeCycleReport2_DecodeDataLength | DInt | %ID296 |  | DecodeCycleReport2 | DecodeDataLength | %ID | 16
|  | V430_DecodeCycleReport2_DecodeString[0] | Char | %IB300 |  | DecodeCycleReport2 | DecodeString[0] | %IB | 20
|  | V430_DecodeCycleReport2_DecodeString[1] | Char | %IB301 |  | DecodeCycleReport2 | DecodeString[1] | %IB | 21
|  | V430_DecodeCycleReport2_DecodeString[2] | Char | %IB302 |  | DecodeCycleReport2 | DecodeString[2] | %IB | 22
|  | V430_DecodeCycleReport2_DecodeString[3] | Char | %IB303 |  | DecodeCycleReport2 | DecodeString[3] | %IB | 23
|  | V430_DecodeCycleReport2_DecodeString[4] | Char | %IB304 |  | DecodeCycleReport2 | DecodeString[4] | %IB | 24
|  | V430_DecodeCycleReport2_DecodeString[5] | Char | %IB305 |  | DecodeCycleReport2 | DecodeString[5] | %IB | 25
|  | V430_DecodeCycleReport2_DecodeString[6] | Char | %IB306 |  | DecodeCycleReport2 | DecodeString[6] | %IB | 26
|  | V430_DecodeCycleReport2_DecodeString[7] | Char | %IB307 |  | DecodeCycleReport2 | DecodeString[7] | %IB | 27
|  | V430_DecodeCycleReport2_DecodeString[8] | Char | %IB308 |  | DecodeCycleReport2 | DecodeString[8] | %IB | 28
|  | V430_DecodeCycleReport2_DecodeString[9] | Char | %IB309 | *Max 72 Chars | DecodeCycleReport2 | DecodeString[9] | %IB | 29
|  | V430_DecodeCycleReport3_SymbolTop | Int | %IW372 |  | DecodeCycleReport3 | SymbolTop | %IW | 0
|  | V430_DecodeCycleReport3_SymbolLeft | Int | %IW374 |  | DecodeCycleReport3 | SymbolLeft | %IW | 2
|  | V430_DecodeCycleReport3_SymbolHeight | Int | %IW376 |  | DecodeCycleReport3 | SymbolHeight | %IW | 4
|  | V430_DecodeCycleReport3_SymbolWidth | Int | %IW378 |  | DecodeCycleReport3 | SymbolWidth | %IW | 6
|  | V430_DecodeCycleReport3_CodeType | DInt | %ID380 |  | DecodeCycleReport3 | CodeType | %ID | 8
|  | V430_DecodeCycleReport3_PixelsPerElement | Real | %ID384 |  | DecodeCycleReport3 | PixelsPerElement | %ID | 12
|  | V430_DecodeCycleReport3_DecodeDataLength | DInt | %ID388 |  | DecodeCycleReport3 | DecodeDataLength | %ID | 16
|  | V430_DecodeCycleReport3_DecodeString[0] | Char | %IB392 |  | DecodeCycleReport3 | DecodeString[0] | %IB | 20
|  | V430_DecodeCycleReport3_DecodeString[1] | Char | %IB393 |  | DecodeCycleReport3 | DecodeString[1] | %IB | 21
|  | V430_DecodeCycleReport3_DecodeString[2] | Char | %IB394 |  | DecodeCycleReport3 | DecodeString[2] | %IB | 22
|  | V430_DecodeCycleReport3_DecodeString[3] | Char | %IB395 |  | DecodeCycleReport3 | DecodeString[3] | %IB | 23
|  | V430_DecodeCycleReport3_DecodeString[4] | Char | %IB396 |  | DecodeCycleReport3 | DecodeString[4] | %IB | 24
|  | V430_DecodeCycleReport3_DecodeString[5] | Char | %IB397 |  | DecodeCycleReport3 | DecodeString[5] | %IB | 25
|  | V430_DecodeCycleReport3_DecodeString[6] | Char | %IB398 |  | DecodeCycleReport3 | DecodeString[6] | %IB | 26
|  | V430_DecodeCycleReport3_DecodeString[7] | Char | %IB399 |  | DecodeCycleReport3 | DecodeString[7] | %IB | 27
|  | V430_DecodeCycleReport3_DecodeString[8] | Char | %IB400 |  | DecodeCycleReport3 | DecodeString[8] | %IB | 28
|  | V430_DecodeCycleReport3_DecodeString[9] | Char | %IB401 | *Max 72 Chars | DecodeCycleReport3 | DecodeString[9] | %IB | 29
|  | V430_DecodeCycleReport4_SymbolTop | Int | %IW464 |  | DecodeCycleReport4 | SymbolTop | %IW | 0
|  | V430_DecodeCycleReport4_SymbolLeft | Int | %IW466 |  | DecodeCycleReport4 | SymbolLeft | %IW | 2
|  | V430_DecodeCycleReport4_SymbolHeight | Int | %IW468 |  | DecodeCycleReport4 | SymbolHeight | %IW | 4
|  | V430_DecodeCycleReport4_SymbolWidth | Int | %IW470 |  | DecodeCycleReport4 | SymbolWidth | %IW | 6
|  | V430_DecodeCycleReport4_CodeType | DInt | %ID472 |  | DecodeCycleReport4 | CodeType | %ID | 8
|  | V430_DecodeCycleReport4_PixelsPerElement | Real | %ID476 |  | DecodeCycleReport4 | PixelsPerElement | %ID | 12
|  | V430_DecodeCycleReport4_DecodeDataLength | DInt | %ID480 |  | DecodeCycleReport4 | DecodeDataLength | %ID | 16
|  | V430_DecodeCycleReport4_DecodeString[0] | Char | %IB484 |  | DecodeCycleReport4 | DecodeString[0] | %IB | 20
|  | V430_DecodeCycleReport4_DecodeString[1] | Char | %IB485 |  | DecodeCycleReport4 | DecodeString[1] | %IB | 21
|  | V430_DecodeCycleReport4_DecodeString[2] | Char | %IB486 |  | DecodeCycleReport4 | DecodeString[2] | %IB | 22
|  | V430_DecodeCycleReport4_DecodeString[3] | Char | %IB487 |  | DecodeCycleReport4 | DecodeString[3] | %IB | 23
|  | V430_DecodeCycleReport4_DecodeString[4] | Char | %IB488 |  | DecodeCycleReport4 | DecodeString[4] | %IB | 24
|  | V430_DecodeCycleReport4_DecodeString[5] | Char | %IB489 |  | DecodeCycleReport4 | DecodeString[5] | %IB | 25
|  | V430_DecodeCycleReport4_DecodeString[6] | Char | %IB490 |  | DecodeCycleReport4 | DecodeString[6] | %IB | 26
|  | V430_DecodeCycleReport4_DecodeString[7] | Char | %IB491 |  | DecodeCycleReport4 | DecodeString[7] | %IB | 27
|  | V430_DecodeCycleReport4_DecodeString[8] | Char | %IB492 |  | DecodeCycleReport4 | DecodeString[8] | %IB | 28
|  | V430_DecodeCycleReport4_DecodeString[9] | Char | %IB493 | *Max 72 Chars | DecodeCycleReport4 | DecodeString[9] | %IB | 29
*One long string of max 160 Chars
*Three short strings of max 72 Chars

## Input MXL
OMRON Date: 25-05-2021 Version: 1.1 Author: Eldad Ben Shalom OCR FAE EMEA
1. Insert below the correct start addresses from TIA and optionally the desired device prefix. |  | 2. Copy the desired Tags definitions below and paste into TIA Tags table. |  |  | Internal definitions below. DO NOT CHANGE!
|  | Tag Name | Data Type | Address | Module Name | Tag name | TIA Prefix | Offset [Bit/Byte]
Use this page with the following assembly pair: |  | V430_OutputPremier_RunMode | Bool | %Q2.0 | OutputPremier | RunMode | %Q | 0
Input MXL Assembly |  | V430_OutputPremier_Trigger | Bool | %Q2.1 | OutputPremier | Trigger | %Q | 1
Output Premier |  | V430_OutputPremier_EnableMatchCode | Bool | %Q2.2 | OutputPremier | EnableMatchCode | %Q | 2
|  | V430_OutputPremier_ResetGeneralFault | Bool | %Q2.3 | OutputPremier | ResetGeneralFault | %Q | 3
|  | V430_OutputPremier_ClearNoReadReadCycleCount | Bool | %Q2.4 | OutputPremier | ClearNoReadReadCycleCount | %Q | 4
|  | V430_OutputPremier_ClearMisMatchReadCycleCount | Bool | %Q2.5 | OutputPremier | ClearMisMatchReadCycleCount | %Q | 5
|  | V430_OutputPremier_ClearNoReadCount | Bool | %Q2.6 | OutputPremier | ClearNoReadCount | %Q | 6
|  | V430_OutputPremier_ClearTriggerCount | Bool | %Q2.7 | OutputPremier | ClearTriggerCount | %Q | 7
|  | V430_OutputPremier_ClearMatchcodeCount | Bool | %Q3.0 | OutputPremier | ClearMatchcodeCount | %Q | 0
|  | V430_OutputPremier_ClearMismatchCount | Bool | %Q3.1 | OutputPremier | ClearMismatchCount | %Q | 1
Device_Name | V430 | V430_OutputPremier_Output_1 | Bool | %Q3.2 | OutputPremier | Output_1 | %Q | 2
|  | V430_OutputPremier_Output_2 | Bool | %Q3.3 | OutputPremier | Output_2 | %Q | 3
Module Name | Start Address | V430_OutputPremier_Output_3 | Bool | %Q3.4 | OutputPremier | Output_3 | %Q | 4
ModuleHeader | 2 | V430_ModuleHeader_InfoBits | Byte | %IB2 | ModuleHeader | InfoBits | %IB | 0
DeviceStatus | 6 | V430_ModuleHeader_Reserved | Byte | %IB3 | ModuleHeader | Reserved | %IB | 1
FaultCode | 10 | V430_ModuleHeader_Reserved | Byte | %IB4 | ModuleHeader | Reserved | %IB | 2
Counters | 68 | V430_ModuleHeader_Reserved | Byte | %IB5 | ModuleHeader | Reserved | %IB | 3
ReadCycleReport | 92 | V430_DeviceStatus_Online | Bool | %I6.0 | DeviceStatus | Online | %I | 0
DecodeCycleReport | 100 | V430_DeviceStatus_TriggerAck | Bool | %I6.1 | DeviceStatus | TriggerAck | %I | 1
OutputPremier (Q) | 2 | V430_DeviceStatus_ExpDone | Bool | %I6.2 | DeviceStatus | ExpDone | %I | 2
|  | V430_DeviceStatus_Decoding | Bool | %I6.3 | DeviceStatus | Decoding | %I | 3
|  | V430_DeviceStatus_DataIsReady | Bool | %I6.4 | DeviceStatus | DataIsReady | %I | 4
|  | V430_DeviceStatus_ReadCyclePass | Bool | %I6.5 | DeviceStatus | ReadCyclePass | %I | 5
|  | V430_DeviceStatus_ReadCycleFail | Bool | %I6.6 | DeviceStatus | ReadCycleFail | %I | 6
|  | V430_DeviceStatus_GeneralFault | Bool | %I6.7 | DeviceStatus | GeneralFault | %I | 7
|  | V430_DeviceStatus_MatchCodeTrained | Bool | %I7.0 | DeviceStatus | MatchCodeTrained | %I | 0
|  | V430_DeviceStatus_MatchCodeEnabled | Bool | %I7.1 | DeviceStatus | MatchCodeEnabled | %I | 1
|  | V430_DeviceStatus_ImageSensorCal | Bool | %I7.2 | DeviceStatus | ImageSensorCal | %I | 2
|  | V430_DeviceStatus_ImageSensorCalComp | Bool | %I7.3 | DeviceStatus | ImageSensorCalComp | %I | 3
|  | V430_DeviceStatus_Training | Bool | %I7.4 | DeviceStatus | Training | %I | 4
|  | V430_DeviceStatus_TrainingComp | Bool | %I7.5 | DeviceStatus | TrainingComp | %I | 5
|  | V430_DeviceStatus_Optimizing | Bool | %I7.6 | DeviceStatus | Optimizing | %I | 6
|  | V430_DeviceStatus_OptimizingComp | Bool | %I7.7 | DeviceStatus | OptimizingComp | %I | 7
|  | V430_DeviceStatus_AutoImagePhotoEnabled | Bool | %I8.0 | DeviceStatus | AutoImagePhotoEnabled | %I | 0
|  | V430_DeviceStatus_AutoImagePhotoComp | Bool | %I8.1 | DeviceStatus | AutoImagePhotoComp | %I | 1
|  | V430_DeviceStatus_Output1Status | Bool | %I8.2 | DeviceStatus | Output1Status | %I | 2
|  | V430_DeviceStatus_Output2Status | Bool | %I8.3 | DeviceStatus | Output2Status | %I | 3
|  | V430_DeviceStatus_Output3Status | Bool | %I8.4 | DeviceStatus | Output3Status | %I | 4
|  | V430_DeviceStatus_BufferOverflow | Bool | %I8.5 | DeviceStatus | BufferOverflow | %I | 5
|  | V430_FaultCode_Val | Dint | %ID10 | FaultCode | Val | %ID | 0
|  | V430_Counters_NoreadReadCycleCounter | Dint | %ID68 | Counters | NoreadReadCycleCounter | %ID | 0
|  | V430_Counters_MismatchReadCycleCounter | Dint | %ID72 | Counters | MismatchReadCycleCounter | %ID | 4
|  | V430_Counters_NoreadCounter | Dint | %ID76 | Counters | NoreadCounter | %ID | 8
|  | V430_Counters_TriggerCounter | Dint | %ID80 | Counters | TriggerCounter | %ID | 12
|  | V430_Counters_MatchcodeCounter | Dint | %ID84 | Counters | MatchcodeCounter | %ID | 16
|  | V430_Counters_MismatchCounter | Dint | %ID88 | Counters | MismatchCounter | %ID | 20
|  | V430_ReadCycleReport_CaptureTime | Int | %IW92 | ReadCycleReport | CaptureTime | %IW | 0
|  | V430_ReadCycleReport_TotalDecodeTime | Int | %IW94 | ReadCycleReport | TotalDecodeTime | %IW | 2
|  | V430_ReadCycleReport_TotalReadCycleTime | Int | %IW96 | ReadCycleReport | TotalReadCycleTime | %IW | 4
|  | V430_DecodeCycleReport_SymbolTop | Int | %IW100 | DecodeCycleReport | SymbolTop | %IW | 0
|  | V430_DecodeCycleReport_SymbolLeft | Int | %IW102 | DecodeCycleReport | SymbolLeft | %IW | 2
|  | V430_DecodeCycleReport_SymbolHeight | Int | %IW104 | DecodeCycleReport | SymbolHeight | %IW | 4
|  | V430_DecodeCycleReport_SymbolWidth | Int | %IW106 | DecodeCycleReport | SymbolWidth | %IW | 6
|  | V430_DecodeCycleReport_CodeType | DInt | %ID108 | DecodeCycleReport | CodeType | %ID | 8
|  | V430_DecodeCycleReport_PixelsPerElement | Real | %ID112 | DecodeCycleReport | PixelsPerElement | %ID | 12
|  | V430_DecodeCycleReport_DecodeDataLength | DInt | %ID116 | DecodeCycleReport | DecodeDataLength | %ID | 16
|  | V430_DecodeCycleReport_DecodeString[0] | Char | %IB120 | DecodeCycleReport | DecodeString[0] | %IB | 20
|  | V430_DecodeCycleReport_DecodeString[1] | Char | %IB121 | DecodeCycleReport | DecodeString[1] | %IB | 21
|  | V430_DecodeCycleReport_DecodeString[2] | Char | %IB122 | DecodeCycleReport | DecodeString[2] | %IB | 22
|  | V430_DecodeCycleReport_DecodeString[3] | Char | %IB123 | DecodeCycleReport | DecodeString[3] | %IB | 23
|  | V430_DecodeCycleReport_DecodeString[4] | Char | %IB124 | DecodeCycleReport | DecodeString[4] | %IB | 24
|  | V430_DecodeCycleReport_DecodeString[5] | Char | %IB125 | DecodeCycleReport | DecodeString[5] | %IB | 25
|  | V430_DecodeCycleReport_DecodeString[6] | Char | %IB126 | DecodeCycleReport | DecodeString[6] | %IB | 26
|  | V430_DecodeCycleReport_DecodeString[7] | Char | %IB127 | DecodeCycleReport | DecodeString[7] | %IB | 27
|  | V430_DecodeCycleReport_DecodeString[8] | Char | %IB128 | DecodeCycleReport | DecodeString[8] | %IB | 28
|  | V430_DecodeCycleReport_DecodeString[9] | Char | %IB129 | DecodeCycleReport | DecodeString[9] | %IB | 29
*Max 184 Chars

## Input N Decode
OMRON Date: 25-05-2021 Version: 1.1 Author: Eldad Ben Shalom OCR FAE EMEA
1. Insert below the correct start addresses from TIA and optionally the desired device prefix. |  | 2. Copy the desired Tags definitions below and paste into TIA Tags table. |  |  | Internal definitions below. DO NOT CHANGE!
|  | Tag Name | Data Type | Address | Module Name | Tag name | TIA Prefix | Offset [Bit/Byte]
Use this page with the following assembly pair: |  | V430_OutputPremier_RunMode | Bool | %Q2.0 | OutputPremier | RunMode | %Q | 0
Input N Decode Assembly |  | V430_OutputPremier_Trigger | Bool | %Q2.1 | OutputPremier | Trigger | %Q | 1
Output Premier |  | V430_OutputPremier_EnableMatchCode | Bool | %Q2.2 | OutputPremier | EnableMatchCode | %Q | 2
|  | V430_OutputPremier_ResetGeneralFault | Bool | %Q2.3 | OutputPremier | ResetGeneralFault | %Q | 3
|  | V430_OutputPremier_ClearNoReadReadCycleCount | Bool | %Q2.4 | OutputPremier | ClearNoReadReadCycleCount | %Q | 4
|  | V430_OutputPremier_ClearMisMatchReadCycleCount | Bool | %Q2.5 | OutputPremier | ClearMisMatchReadCycleCount | %Q | 5
|  | V430_OutputPremier_ClearNoReadCount | Bool | %Q2.6 | OutputPremier | ClearNoReadCount | %Q | 6
|  | V430_OutputPremier_ClearTriggerCount | Bool | %Q2.7 | OutputPremier | ClearTriggerCount | %Q | 7
|  | V430_OutputPremier_ClearMatchcodeCount | Bool | %Q3.0 | OutputPremier | ClearMatchcodeCount | %Q | 0
|  | V430_OutputPremier_ClearMismatchCount | Bool | %Q3.1 | OutputPremier | ClearMismatchCount | %Q | 1
Device_Name | V430 | V430_OutputPremier_Output_1 | Bool | %Q3.2 | OutputPremier | Output_1 | %Q | 2
|  | V430_OutputPremier_Output_2 | Bool | %Q3.3 | OutputPremier | Output_2 | %Q | 3
Module Name | Start Address | V430_OutputPremier_Output_3 | Bool | %Q3.4 | OutputPremier | Output_3 | %Q | 4
ModuleHeader | 2 | V430_ModuleHeader_InfoBits | Byte | %IB2 | ModuleHeader | InfoBits | %IB | 0
DeviceStatus | 6 | V430_ModuleHeader_Reserved | Byte | %IB3 | ModuleHeader | Reserved | %IB | 1
FaultCode | 10 | V430_ModuleHeader_Reserved | Byte | %IB4 | ModuleHeader | Reserved | %IB | 2
Counters | 68 | V430_ModuleHeader_Reserved | Byte | %IB5 | ModuleHeader | Reserved | %IB | 3
ReadCycleReport | 92 | V430_DeviceStatus_Online | Bool | %I6.0 | DeviceStatus | Online | %I | 0
RawData | 100 | V430_DeviceStatus_TriggerAck | Bool | %I6.1 | DeviceStatus | TriggerAck | %I | 1
OutputPremier (Q) | 2 | V430_DeviceStatus_ExpDone | Bool | %I6.2 | DeviceStatus | ExpDone | %I | 2
|  | V430_DeviceStatus_Decoding | Bool | %I6.3 | DeviceStatus | Decoding | %I | 3
|  | V430_DeviceStatus_DataIsReady | Bool | %I6.4 | DeviceStatus | DataIsReady | %I | 4
|  | V430_DeviceStatus_ReadCyclePass | Bool | %I6.5 | DeviceStatus | ReadCyclePass | %I | 5
|  | V430_DeviceStatus_ReadCycleFail | Bool | %I6.6 | DeviceStatus | ReadCycleFail | %I | 6
|  | V430_DeviceStatus_GeneralFault | Bool | %I6.7 | DeviceStatus | GeneralFault | %I | 7
|  | V430_DeviceStatus_MatchCodeTrained | Bool | %I7.0 | DeviceStatus | MatchCodeTrained | %I | 0
|  | V430_DeviceStatus_MatchCodeEnabled | Bool | %I7.1 | DeviceStatus | MatchCodeEnabled | %I | 1
|  | V430_DeviceStatus_ImageSensorCal | Bool | %I7.2 | DeviceStatus | ImageSensorCal | %I | 2
|  | V430_DeviceStatus_ImageSensorCalComp | Bool | %I7.3 | DeviceStatus | ImageSensorCalComp | %I | 3
|  | V430_DeviceStatus_Training | Bool | %I7.4 | DeviceStatus | Training | %I | 4
|  | V430_DeviceStatus_TrainingComp | Bool | %I7.5 | DeviceStatus | TrainingComp | %I | 5
|  | V430_DeviceStatus_Optimizing | Bool | %I7.6 | DeviceStatus | Optimizing | %I | 6
|  | V430_DeviceStatus_OptimizingComp | Bool | %I7.7 | DeviceStatus | OptimizingComp | %I | 7
|  | V430_DeviceStatus_AutoImagePhotoEnabled | Bool | %I8.0 | DeviceStatus | AutoImagePhotoEnabled | %I | 0
|  | V430_DeviceStatus_AutoImagePhotoComp | Bool | %I8.1 | DeviceStatus | AutoImagePhotoComp | %I | 1
|  | V430_DeviceStatus_Output1Status | Bool | %I8.2 | DeviceStatus | Output1Status | %I | 2
|  | V430_DeviceStatus_Output2Status | Bool | %I8.3 | DeviceStatus | Output2Status | %I | 3
|  | V430_DeviceStatus_Output3Status | Bool | %I8.4 | DeviceStatus | Output3Status | %I | 4
|  | V430_DeviceStatus_BufferOverflow | Bool | %I8.5 | DeviceStatus | BufferOverflow | %I | 5
|  | V430_FaultCode_Val | Dint | %ID10 | FaultCode | Val | %ID | 0
|  | V430_Counters_NoreadReadCycleCounter | Dint | %ID68 | Counters | NoreadReadCycleCounter | %ID | 0
|  | V430_Counters_MismatchReadCycleCounter | Dint | %ID72 | Counters | MismatchReadCycleCounter | %ID | 4
|  | V430_Counters_NoreadCounter | Dint | %ID76 | Counters | NoreadCounter | %ID | 8
|  | V430_Counters_TriggerCounter | Dint | %ID80 | Counters | TriggerCounter | %ID | 12
|  | V430_Counters_MatchcodeCounter | Dint | %ID84 | Counters | MatchcodeCounter | %ID | 16
|  | V430_Counters_MismatchCounter | Dint | %ID88 | Counters | MismatchCounter | %ID | 20
|  | V430_ReadCycleReport_CaptureTime | Int | %IW92 | ReadCycleReport | CaptureTime | %IW | 0
|  | V430_ReadCycleReport_TotalDecodeTime | Int | %IW94 | ReadCycleReport | TotalDecodeTime | %IW | 2
|  | V430_ReadCycleReport_TotalReadCycleTime | Int | %IW96 | ReadCycleReport | TotalReadCycleTime | %IW | 4
|  | V430_RawData_Byte[0] | Byte | %IB100 | RawData | Byte[0] | %IB | 0
|  | V430_RawData_Byte[0] | Byte | %IB101 | RawData | Byte[0] | %IB | 1
|  | V430_RawData_Byte[0] | Byte | %IB102 | RawData | Byte[0] | %IB | 2
|  | V430_RawData_Byte[0] | Byte | %IB103 | RawData | Byte[0] | %IB | 3
|  | V430_RawData_Byte[0] | Byte | %IB104 | RawData | Byte[0] | %IB | 4
|  | V430_RawData_Byte[0] | Byte | %IB105 | RawData | Byte[0] | %IB | 5
|  | V430_RawData_Byte[0] | Byte | %IB106 | RawData | Byte[0] | %IB | 6
|  | V430_RawData_Byte[0] | Byte | %IB107 | RawData | Byte[0] | %IB | 7
|  | V430_RawData_Byte[0] | Byte | %IB108 | RawData | Byte[0] | %IB | 8
|  | V430_RawData_Byte[0] | Byte | %IB109 | RawData | Byte[0] | %IB | 9
|  | V430_RawData_Byte[0] | Byte | %IB110 | RawData | Byte[0] | %IB | 10
|  | V430_RawData_Byte[0] | Byte | %IB111 | RawData | Byte[0] | %IB | 11
|  | V430_RawData_Byte[0] | Byte | %IB112 | RawData | Byte[0] | %IB | 12
|  | V430_RawData_Byte[0] | Byte | %IB113 | RawData | Byte[0] | %IB | 13
|  | V430_RawData_Byte[0] | Byte | %IB114 | RawData | Byte[0] | %IB | 14
|  | V430_RawData_Byte[0] | Byte | %IB115 | RawData | Byte[0] | %IB | 15
|  | V430_RawData_Byte[0] | Byte | %IB116 | RawData | Byte[0] | %IB | 16
*Max 456 bytes